Deep Learning Final Project Proposal

# Title:

Deep Learning-based Artifact Removal and State Classification for a Custom Hemoencephalography (HEG) System.

# Participants:

Kaveh Ramezani

# Motivation & Problem Statement

Hemoencephalography (HEG) is a non-invasive functional neuroimaging technique that measures regional cerebral oxygenation. In mobile or wearable biomedical devices, the integrity of the analog front-end signal is frequently compromised by motion artifacts (from physical movement) and environmental noise (ambient light leakage).

Traditional linear filtering often fails to distinguish between rapid hemodynamic changes and motion-induced spikes. This project aims to develop a Deep Learning pipeline to perform real-time signal denoising and cognitive state classification, providing a robust Digital Backend for a custom-designed HEG circuit.

# Objectives

- Data Acquisition: Utilize the OpenNeuro ds007420 dataset, which contains multi-distance fNIRS data specifically annotated with purposeful motion artifacts and ball-squeezing motor tasks.

- Denoising (Artifact Rejection): Train a Convolutional Neural Network (CNN) or an autoencoder to reconstruct clean hemodynamic signals from noisy, artifact-heavy raw inputs.

- Classification: Implement a Long Short-Term Memory (LSTM) network to classify Active vs. Rest states based on oxygenated hemoglobin (HbO2) and deoxygenated hemoglobin (Hb) trends.

- Hardware-Aware Optimization: Perform model quantization (converting to int32) to evaluate the feasibility of deploying this model on an FPGA-based SoC or high-performance MCUs for real-time edge processing.